2
Controller / Data Acquisition
Wyolum
uControl
Pump Start/Stop
Valve Open/Close
Data Pressure/Flow/Pulse/Temp
1
User Interface
Wyolum
Raspberry-Pi / Beagle Bone
Display Pump / Valve (Actuator) Status
Display Blood Pressure & Pulse
Compute & Display EnDys score
3
Sensor SPI
Gage Pr
Sensortechnics
HCEM500GUH9P3
dia 2.2mm
barb
4
Sensor I2C
Abso Pr
Sensortechnics
HDIB002AUY8H5
dia 2.7mm
taper
5
Sensor I2C
Temp
Sensirion
STS21
?
?
6
Actuator Digital
Pump
Xavitech
P1500 / P200
dia 4.0 / dia 3.1 mm
straight
7
Sensor Serial
Mass Flow
Sensirion
EM1NR4R0V_1A
G 3/8”
BSPP Metric
8
Actuator
Restriction Valve
Bird Precision
RB#82715
dia 1/8”
barb
9
Actuator Digital
Deflation Valve
Parker
X-1-05-S-F
dia 1/16”
barb
10
MANIFOLD
Al / Plastic machined block, with mechanical interfaces/threads to match each connection
11
Sensor Analog/I2C
Pulse
Sparkfun
SEN-11574
Finger
Clip
12
Cuff
?
Exhaust
Air In

---
1/4” Tube
1/4” Tube
1/4” Barb
1/4” Barb
to
1/16” Barb
Convert
1/16” Tube
1/4” Barb
Outlet Air
Inlet Air
Filter
1/16” Tube
1/8” Tube
1/4” Tube
1/16” Barb
1/8” Barb
1/4” Barb
Cuff